Problem statement 1

## Automated Detection of Multiple Sclerosis Lesions from FLAIR MRI

Problem Statement:

Develop a robust deep learning-based system for automatic detection and segmentation of Multiple Sclerosis (MS) lesions from FLAIR MRI images, capable of handling inter-patient variability, lesion heterogeneity, and intensity inhomogeneity, with high sensitivity and minimal false positives.

Key Challenges:

- Small lesion detection

- Lesions near ventricles

- Scanner variability

- Class imbalance

Research Extensions:

- Compare U-Net vs Attention U-Net vs Transformer-based models

- 2D vs 3D segmentation

- Domain adaptation for multi-center datasets

Problem 2

## Detection of Paramagnetic Rim Lesions (PRL) from Phase Images

Problem Statement:

Design an automated system to detect and classify paramagnetic rim lesions (PRLs) from susceptibility-weighted phase MRI images, enabling identification of chronic active MS lesions associated with disease progression.

Key Challenges:

- Low contrast rims

- Phase noise

- Differentiating rim from veins

- Small circular structures

Advanced Research Angle:

- Multi-modal learning (FLAIR + Phase)

- Edge-aware CNNs

- Graph-based lesion boundary modeling

- Explainable AI for rim detection

Problem 3

## Automated Quantification of MS Plaque Number, Volume, and Size

Problem Statement:

Develop a quantitative pipeline to automatically compute the number, volume, and size distribution of MS plaques from segmented FLAIR MRI images to support disease burden assessment and therapy monitoring.

Outputs:

- Total lesion count

- Total lesion load (mm³)

- Largest lesion size

- Average lesion volume

- Size distribution histogram

Advanced Add-ons:

- Longitudinal tracking

- New lesion detection between timepoints

- Lesion growth rate estimation

Problem 4

## Integrated Multi-Modal MS Lesion Characterization System

Problem Statement:

Develop a multi-modal deep learning framework integrating FLAIR and phase MRI images to simultaneously detect MS lesions, identify paramagnetic rims, and quantify plaque burden for comprehensive disease characterization.

Novel Contributions Could Include:

- Dual-branch CNN architecture

- Attention-based feature fusion

- Lesion subtype classification:

  - Rim-positive lesions

  - Rim-negative lesions

- Severity scoring index

Problem 5

## Early Detection of Chronic Active MS Lesions Using Paramagnetic Rim Biomarkers

Problem Statement:

Investigate whether automated detection of paramagnetic rim lesions from phase MRI can serve as an imaging biomarker for early identification of chronic active MS and prediction of disability progression.

Clinical Relevance:

- Predict disease progression

- Stratify patients

- Therapy personalization

Problem 6

## Lightweight AI Model for Real-Time MS Lesion Burden Estimation

Problem Statement:

Design a computationally efficient neural network model for automatic detection and quantification of MS lesions from FLAIR MRI images suitable for deployment in low-resource clinical settings.

Focus Areas:

- Model compression

- Knowledge distillation

- Edge deployment

- Reduced memory footprint

## Problem 7

## Explainable AI Framework for MS Lesion and Rim Detection

Problem Statement:

Develop an explainable AI framework for MS lesion and paramagnetic rim detection that provides visual attention maps and interpretable metrics to support clinical decision-making.

Explainability Tools:

- Grad-CAM

- SHAP

- Saliency maps

- Lesion confidence scoring

Problem 8

## Multi-Modal Deep Learning Framework for Automated Detection of Chronic Active MS Lesions Using FLAIR and Phase MRI

Problem Statement

Develop a multi-modal deep learning framework that integrates FLAIR and susceptibility-weighted phase MRI to automatically detect Multiple Sclerosis (MS) lesions and identify paramagnetic rim lesions (PRLs), enabling differentiation between chronic active and inactive plaques with high spatial accuracy and clinical reliability.

Novelty Focus

- Dual-branch architecture for intensity (FLAIR) and susceptibility (phase) features

- Attention-based cross-modal fusion

- Rim-aware boundary modeling

- Lesion subtype classification (rim-positive vs rim-negative)

Clinical Impact

- Identification of chronic active lesions

- Biomarker-driven disease stratification

- Improved treatment planning

Problem 9

## Automated Quantification and Longitudinal Tracking of MS Plaque Burden from FLAIR MRI

Problem Statement

Design a fully automated AI-driven pipeline to detect, segment, and longitudinally track MS plaques from FLAIR MRI, enabling accurate estimation of lesion count, total lesion load, lesion volume distribution, and growth dynamics across timepoints.

Innovation Components

- 3D lesion instance segmentation

- Lesion matching across timepoints

- Automated new lesion detection

- Growth rate modeling

Key Contribution

- Reduces inter-rater variability

- Enables objective disease monitoring

- Supports therapy response evaluation

## Problem 10

## Edge-Aware Neural Network for Detection of Paramagnetic Rim Lesions in Phase MRI

Problem Statement

Develop an edge-aware, boundary-enhanced neural network for robust detection of paramagnetic rim lesions (PRLs) from phase MRI images, addressing the challenges of low contrast, venous mimicry, and susceptibility artifacts.

Technical Contributions

- Rim-sensitive loss function

- Boundary-attention mechanism

- Vein suppression module

- Small-object detection enhancement

Scientific Impact

- Improves sensitivity for chronic active lesions

- Reduces false positives caused by veins

- Enables automated PRL biomarker extraction

Problem 11

## Lightweight and Generalizable AI Model for Multi-Center MS Lesion Segmentation

Problem Statement

Develop a computationally efficient and domain-adaptive neural network for MS lesion segmentation from FLAIR MRI that generalizes across multi-center datasets while maintaining high segmentation accuracy and low computational footprint.

Novel Elements

- Domain adaptation layer

- Intensity normalization learning

- Knowledge distillation for model compression

- Reduced parameter architecture

Impact

- Suitable for deployment in low-resource hospitals

- Enables standardized lesion burden estimation

- Promotes scalable clinical adoption

# Possible Dataset Sources

- MSSEG Challenge Dataset

- ISBI MS Lesion Segmentation Dataset

- MICCAI MS Lesion Challenge

# Evaluation Metrics

For segmentation:

- Dice Similarity Coefficient (DSC)

- Sensitivity

- Specificity

- Hausdorff Distance

For rim detection:

- Precision

- Recall

- ROC-AUC

For quantification:

- Absolute Volume Error

- Lesion Count Error